## Slide 1: Traffic and Failure Aware VM Placement for Multi-tenant Cloud Computing
Chen Qian, Xin Li
University of Kentucky

## Slide 2: Multi-tenant Cloud
Datacenters with multiple tenants
  Provider: Amazon EC2, Windows Azure, etc.
  Tenants: Using renting virtual machines (VMs).

## Slide 3: VM placement overview
Easy to express tenants’ requests
  Abstraction model
  #VMs, network performance, availability
Fast to place VMs on physical networks
  Optimize network performances
  Tenant
  Request
Cloud Interface
  Virtual to
  Physical

## Slide 4: Datacenter Networks
…
Server 1
Rack 1
…
…
….
Server n
Top-of-rack Switch
Rack 2
Rack m
Server 1
Server n
Server 1
Server n

## Slide 5: In-network traffic
…
Rack 1
…
…
….
Rack 2
Rack m
Cross-rack Traffic
a
In-rack Traffic
b
c
d
More
Bandwidth&latency

## Slide 6: Reducing cross-rack traffic
In-rack traffic is more preferred than cross-rack traffic
  Switch can forward in-rack packets at line-rate between different ports
  Oversubscription is common in current DCNs
  Cross-rack traffic is a level of oversubscription. Packet-drop will occur for high cross-rack traffics

## Slide 7: Existing work
TMVPP [INFOCOM’10], Oktopus [SIGCOMM’11]
  Require for full traffic matrix information
  NOT consider fault tolerance
Hose Model [SIGCOMM’99] and Virtual Cluster [SIGCOMM’11]
  NOT reflect communication patterns
CloudMirror [SIGCOMM’14]
  Fault tolerance is not guaranteed

## Slide 8: Function-based Abstraction Model (FAM)
Utilize some application-level knowledge as the hint for traffic-aware and function-aware placement
Tenant networks consists of functions
  Each VM serves one function
  A function consists of one or more VMs
  E.g. load balancer, getway, etc.

## Slide 9: Function-based Abstraction Model (FAM)
  Inter-function traffic
    Vary significantly (e.g. B>>b)
    Distribute evenly between VM pairs
DP1
DP2
MySQL1
MySQL2
B/9
DP3
MySQL2

## Slide 10: FAM V.S. Hose
Hose Model
Hose Model
Physical Deployment

## Slide 11: FAM V.S. Hose
FAM
FAM
Physical Deployment
Smaller (compared to 2B)
FAM capitalizes on tenant communication patterns
Suitable for typical applications
Improved network performance

## Slide 12: Network failure
Different levels of failures
  We focus on failures within a DCN
Tenants want reliable services
  Server/rack failure may cause function disability
…
lb1
lb2 lb3
  If all VMs of “load balancer” function are in a same rack
  Rack failure causes the disability of “load balancer”

## Slide 13: FAM representation
Functions (Vertex)
  #VMs
  Fault tolerance: max fraction of VMs in a same rack
Bandwidth (Link)
Load
Balancer
Dev.
Portal
KMS
MySQL
(3, 0.9)
(3, 0.8)
(3, 0.8)
(3, 0.8)
b
b
B
B

## Slide 14: VM Placement Goal
Reduce the traffic-distance product of a multi-tenant DCN by smart VM placement, while preserving the reliability requirements

## Slide 15: VM placement heuristic
This optimization problem is NP-hard
  Quadratic Assignment Problem (QAP)
Three steps:
  Partition
  Place
  Virtual Migration

## Slide 16: VM placement : partition
  Split the set of VMs to multiple components that are placed to different racks
Minimize cross-block traffic, while keeping fault tolerance requirement

## Slide 17: VM placement: place
…
…
Core
Rack1
Rack2
Block1
Block2
Place blocks onto DCN

## Slide 18: VM placement: place
Core
Rack1
Rack2
Block1
Block2
Place blocks onto DCN
  Split blocks if needed
  Virtual migration
Fault tolerance requirement violated

## Slide 19: Evaluation
Trace: 44 tenant networks, 512 VMs
Physical topology: fattree
  8 racks, 32 machines
  Each machine can host 16 VMs
Comparison: random, swap, k-cut

## Slide 20: Evaluation
Requirement less strict
Traffic-network product
Worse
Better
Outperform in all cases

## Slide 21: Evaluation
More accurate
Less than 20%

## Slide 22: Conclusion
Function-based Abstraction Model
  Easy and expressive
VM placement
  Low overhead
  Good for low-granularity traffic

## Slide 23: Q&A
Thank you